BETA-DELPHI 400 kV TRANSMISSION LINE

ENVIRONMENTAL MANAGEMENT PLAN

Prepared by

Eskom Transmission

John Geeringh

MAY 2001

TABLE OF CONTENTS

1.	SCOPE	1

2.	INTRODUCTION	2

3.	TECHNICAL SPECIFICATIONS OF THE LINE	3

3.1.	Length:	3

3.2.	Servitude width:	3

3.3.	Tower parameters:	3

3.4.	Tower design:	3

3.5.	Major activities of the project	3

4.	PHYSICAL ISSUES AND THEIR CONTROL	4

4.1.	Terrain	4

4.1.1.	Management objectives	4

4.1.2.	Measurable targets	5

4.2.	Wet areas	5

4.2.1.	Management objectives	5

4.2.2.	Measurable targets	5

4.3.	River crossings	5

4.3.1.	Management objectives	6

4.3.2.	Measurable targets	6

4.4.	Erosion and donga crossings	6

4.4.1.	Management objectives	6

4.4.2.	Measurable targets	6

4.5.	Access roads	6

4.5.1.	Management objectives	7

4.5.2.	Measurable targets	7

4.6.	Rubble and refuse disposal	7

4.6.1.	Management objectives	8

4.6.2.	Measurable targets	8

4.7.	Bush clearing	8

4.7.1.	Management objective	9

4.7.2.	Measurable targets	10

4.8.	Gate installation and gate control	10

4.8.1.	Management objective	10

4.8.2.	Measurable targets	10

4.9.	Fire prevention	11

4.9.1.	Management objective	11

4.9.2.	Measurable targets	11

4.10.	Servicing of vehicles	11

4.10.1.	Management objective	12

4.10.2.	Measurable targets	12

4.11.	CLAIMS FOR DAMAGES	12

4.11.1.	Management objective	12

4.11.2.	Measurable targets	12

4.12.	Tower positions	12

4.12.1. Management objective	13

4.12.2. Measurable targets	13

4.13.	Winch- and tensioner stations	14

4.13.1.	Management objective	14

4.13.2.	Measurable targets	14

4.14.	Batching plants	14

4.14.1.	Management objective	14

4.14.2.	Measurable targets	15

4.15.	STRINGING OPERATIONS	15

4.15.1.	Management objective	15

4.15.2.	Measurable targets	15

5.	SOCIAL ISSUES AND THEIR CONTROL	16

5.1.	Sanitation	16

5.1.1.	Management objective	16

5.1.2.	Measurable target	16

5.2.	Prevention of disease	16

5.2.1.	Management objective	16

5.2.2.	Measurable targets	16

5.3.	Interaction with landowners	17

5.3.1.	Management objective	17

5.3.2.	Measurable targets	17

5.4.	Littering control	17

5.4.1.	Management objective	18

5.4.2.	Measurable targets	18

6.	BIOLOGICAL ISSUES AND THEIR CONTROL	18

6.1.	Fauna	18

6.1.1.	Management objective	18

6.1.2.	Measurable targets	18

6.2.	Flora	18

6.2.1.	Management objective	19

6.2.2.	Measurable targets	19

6.3.	Herbicide use	19

6.3.1. Management objective	19

6.3.2. Measurable targets	19

7.	CULTURAL ISSUES AND THEIR CONTROL	20

7.1.	Archaeology	20

7.1.1.	Management objective	20

7.1.2.	Measurable targets	20

7.2.	Monuments/historical sites	20

7.1.1. Management objective	20

7.1.2. Measurable targets	21

7.3.	Farmhouses / buildings	21

7.3.1.	Management objective	21

7.3.2.	Measurable targets	21

7.4.	Infrastructure	21

7.4.1.	Management objective	22

7.4.2.	Measurable targets	22

8.	PROBLEMS FORESEEN IN THE AREA	22

8.1.	Pre-construction	22

8.2.	DURING CONSTRUCTION	22

8.3.	After construction	23

9.	POSSIBLE SOLUTIONS TO THE PROBLEMS	23

10.	TOWER SPECIFIC PROBLEM AREAS	24

10.1.	Estimated quantities for special works along the servitude	24

10.1.1.	Water diversion berms	24

11.	PHYSICAL ACCESS PLAN	25

12.	SITE DOCUMENTATION / MONITORING / REPORTING	25

13.	APPENDICES	26

14.	REFERENCES	26

# 1.	SCOPE

The scope of this document is to give guidelines, to the Contractor constructing the transmission line, regarding the environment. This document shall be seen as part of the contract and supplementary to Eskom’s TRMSCAAC1 REV 2. The management plan must thus be part of the enquiry document to make the recommendations and constraints, as set out in this document, enforceable under the general conditions of contract.

The management programme has a long-term objective to ensure that:

1.	Environmental Management considerations are implemented from the start of the project,

2.	Precautions against damage and claims arising from damage are taken timeously, and

3.	The completion date of the contract is not delayed due to problems with Landowners arising during the course of construction.

The Contractor must take into consideration that once the final profiles are available, the final, specific management programme will be part of the profiles that will be handed to the Contractor.

Reporting Structure.

ECO 				CM 			PM

C

Table 1:	Responsibility Matrix

| Function | Name | Responsibility |
| --- | --- | --- |
| Project Manager (PM) |  | Overall management of project and EMP implementation |
| Site Supervisor/ Contract Manager (CM) |  | Oversees site works, liaison with Contractor, PM and ECO |
| Environmental Control Officer (ECO) |  | Implementation of EMP and liaison between Eskom, Contractor and Landowners |
| Contractor (C) |  | Implementation and compliance with recommendations and conditions of the EMP, Appoints dedicated person to work with ECO |
| Contractor Landowner Liaison Officer (CLLO) |  | Implementation of EMP, landowner interaction, environmental control of site actions, re-mediation and rehabilitation work. |

# 2.	INTRODUCTION

The construction of transmission lines can have a major impact on the environment. It is thus imperative that better precautions be taken to ensure that environmental damage is minimised. This will take a concerted effort from the Contractor and proper planning is of the utmost importance. The Environmental Control Officer shall make contact with the local Extension Officer of the Dept. of Agriculture, as this person has valuable information about the area and the local farming community.

(Information regarding the line and special conditions in general).

The Environmental Control Officer shall convey the contents of this document to the Contractor site staff and discuss the contents in detail with the Project Manager and Contractor.

The Contractor (TRMSCAAC1 REV 2 section 4.1.3) shall take all the necessary precautions against damage.

Good relations with Landowners need to be established and sustained. This will help in the solving of problems and the prevention thereof. Lines of communication should always be open to ensure proper and timeous reaction to complaints. The contact numbers of the ECO and Contractor shall be made available to Landowners. The reputation of both the Contractor and Eskom is at stake and should be the drive for everybody involved to perform in excellence.

Eskom would like a commitment from the Contractor on the following issues:

1.	Take into consideration the Landowners as the line traverses private property.

2.	Always behave professionally on and off site.

3.	Ensure quality in all work done, technical and environmental.

4.	Resolve problems and claims arising from damage immediately to ensure a smooth flow of operations.

5.	To underwrite Eskom's Environmental Policy at all times.

6.	To use this Environmental Management Programme for the benefit of all involved.

7.	To preserve the natural environment by limiting destructive actions on site.

# 3.	TECHNICAL SPECIFICATIONS OF THE LINE

## 3.1.	Length:

The length of the line will be approximately ________km.

## 3.2.	Servitude width:

The building restriction is ________m. Construction is limited to the ______m servitude in which the line will be constructed. An 8m strip shall be cleared flush with the ground to facilitate access and construction, except where tower erection and stringing requires more space. The extra space shall be negotiated with the relevant Landowner and approved by Eskom.

## 3.3.	Tower parameters:

3.3.1.	Tower spacing	: __________m.

3.3.2.	Tower height	: __________m.

3.3.3.	Conductor attachment height	: __________m.

3.3.4.	Conductor type	: __________m.

3.3.4.	Minimum ground clearance	: __________m.

## 3.4.	Tower design:

The following types of towers may be used on this project:

Cross rope suspension tower.

Compact cross rope suspension tower.

Guyed-V suspension tower.

Self-supporting suspension tower.

Self-supporting strain tower.

## 3.5.	Major activities of the project

The project involves 17 major activities of which 4 are completed. These are:

1.	Environmental Impact Study – Copy of ROD included.

2.	Negotiations for the servitude –Landowners list and details included.

3.	Land survey to determine exact placement of the line towers.

4.	Drawing work to produce the profiles for construction – profiles included.

The following activities are still to be performed and will take approximately 6 months to complete:

1.	Bush clearing to facilitate access, construction and the safe operation of the line.

2.	Servitude gate installation to facilitate access to the line route.

3.	Establishing access roads.

4.	Erection of camp sites for the Contractors’ workforce.

5.	Transportation of equipment, materials and personnel.

6.	Installation of foundations for the towers.

7.	Tower assembly and erection.

8.	Conductor stringing and regulation.

9.	Final inspection of the line and hand over to region for operation.

10.	Rehabilitation of disturbed areas.

11.	Signing off Landowners.

12.	Handing and taking over of the line.

13.	Operation and maintenance of the line.

The final inspection for the release of the Contractors’ guarantee takes place one year after completion of construction. The line will be in operation immediately after completion of construction and will stay operational for the lifetime of the plant. Subsequent maintenance and refurbishment can extend the operational lifetime of the plant substantially. It is thus not foreseen that decommissioning of the line will take place within the next 50 years.

During the construction period at least two (2) Environmental Audits shall be conducted to determine compliance with the recommendations of the EIA, EMP and conditions of the Record of Decision (ROD).

# 4.	PHYSICAL ISSUES AND THEIR CONTROL

## 4.1.	Terrain

(Description of terrain, major land use activities, soil types, etc.)

(Any special terrain issues to be considered for timing of the project, like turf in rainy season, access problems, etc.)

### 4.1.1.	Management objectives

Minimise scarring of the soil surface and land features

Minimise disturbance and loss of topsoil

Rehabilitate all disturbed areas along the servitude

### 4.1.2.	Measurable targets

No visible erosion scars once construction is completed

Minimum loss of topsoil at any one site

No barren areas visible three months after construction is completed

All damaged areas successfully rehabilitated

## 4.2.	Wet areas

Permanently wet areas will be shown on the profiles. No vehicular traffic shall be allowed in such areas. Only existing roads through such areas may be used with the approval of Eskom and the Landowner. No equipment shall be used which may cause irreparable damage to wet areas. The contractor shall use alternative methods of construction in such areas. Refer to TRMSCAAC1 REV 2 section 4.4.4 regarding access through seasonally wet areas.

(Specifics about the project)

### 4.2.1.	Management objectives

Avoid wet areas to prevent damage

### 4.2.2.	Measurable targets

No damage to wet areas

## 4.3.	River crossings

No roads shall be cut through river- and stream banks as this may lead to erosion causing siltation of streams and downstream dams. Existing drifts and bridges may be used if the Landowner gives his consent. Such structures shall then be thoroughly examined for strength and durability before they are used. New drifts and bridges shall only be constructed with the approval of Eskom and the Landowner and at the discretion of the Environmental Control Officer. Refer to TRMSCAAC1 REV 2 section 4.4.4 regarding access across running water.

(Special description of any specific problems or areas along the route).

### 4.3.1.	Management objectives

Minimise damage to river and stream embankments

Minimise erosion of embankments and subsequent siltation of rivers and streams

### 4.3.2.	Measurable targets

No access roads through river and stream banks

No visible erosion scars on embankments once construction is completed

## 4.4.	Erosion and donga crossings

Crossing of dongas and eroded areas shall be thoroughly planned and accordance with TRMSCAAC1 REV 2 section 4.4.4. Water diversion berms shall be installed at donga crossings to ensure runoff water on the servitude does not run into dongas and cause an erosion hazard.

(Specifics about the project)

### 4.4.1.	Management objectives

Minimise erosion damage on donga crossings

Minimise impeding the natural flow of water

Minimise initiation of erosion through donga embankments

### 4.4.2.	Measurable targets

No disturbance to donga embankments

No erosion visible on donga embankments due to construction activities

No interference with the natural flow of water

## 4.5.	Access roads

Planning of access routes must be done in conjunction between the Contractor, Eskom and the Landowner. All agreements reached should be documented and no verbal agreements should be made. The normal Eskom site documentation will be sufficient for this purpose. The Contractor shall properly mark all access roads. Markers shall show the direction of travel as well as tower numbers to which the road leads. Roads not to be used shall be marked with a " NO ENTRY " sign (refer also TRMSCAAC1 REV 2).

Where new access roads are constructed, this must be done in accordance with TRMSCAAC1 REV 2 section4.4. Water diversion berms shall be installed from the start of the contract in accordance with TRMSCAAC1 REV 2 section 4.6. These berms shall be maintained at all times and be repaired at the end of the contract. Where berms are installed on severe slopes the outflow shall be suitably stone pitched to prevent erosion from starting at the berms.

No roads shall be constructed on slopes of more than 20% unless such roads follow contours. In such areas the Contractor shall only use existing roads or alternative methods of construction. The Contractor shall take such areas into consideration during the tender.

The installation of concrete pipes and drifts, to facilitate access, shall be at the discretion of the Environmental Control Officer on site. Any dangerous crossings shall be marked as such and where necessary, speed limits shall be enforced.

Where necessary a suitable mixture of grass seed shall be used to re-seed damaged areas. Badly damaged areas shall be fenced in to enhance rehabilitation. The seed mixture should comply with the parameters as set out in section 4.12 of this document.

(Any specifics about the project).

### 4.5.1.	Management objectives

Minimise damage to existing access roads

Minimise damage to environment due to construction of new access roads

Minimise loss of topsoil and enhancement of erosion

### 4.5.2.	Measurable targets

No claims from Landowners due to damage on existing access roads

No erosion visible on access roads three months after completion of construction

No loss of topsoil due to runoff water on access roads

## 4.6.	Rubble and refuse disposal

The Contractor shall dispose of all excess material on site in an appropriate manner and at a designated place. All packaging material shall be removed from site and disposed of and not burned on site. A landfill may be used but when it is closed up, the rubble shall be compacted and there shall be at least 1m of soil covering the waste material. No landfill may be used without the consent from the Landowner. No hazardous material, e.g. oil or diesel fuel shall be disposed of in any unregistered waste site.

No material shall be left on site that may harm man or animals. Any broken insulators shall be removed and all shards picked up. Broken, damaged and unused nuts, bolts and washers shall be picked up and removed from site. Surplus concrete may not be dumped indiscriminately on site, but shall be disposed of in designated areas as agreed by the Landowner. Concrete trucks shall not be washed on site after depositing concrete into foundations. Any spilled concrete shall be cleaned up immediately.

### 4.6.1.	Management objectives

To keep the servitude neat and clean

Disposal of rubble and refuse in an appropriate manner

Minimise litigation

Minimise Landowner complaints

### 4.6.2.	Measurable targets

No rubble or refuse lying around on site

No incidents of litigation

No complaints from Landowners

No visible concrete spillage on the servitude

## 4.7.	Bush clearing

The object of bush clearing is to trim, cut or clear the minimum number of trees and bush necessary for the safe mechanical construction and electrical operation of the transmission line. Bush clearing shall be done in accordance with ESKASABG3 REV 0 (Standard for bush clearance and maintenance within overhead power line servitudes – Appendix 5). Only an 8m strip may be cleared flush with the ground to allow vehicular passage.

No scalping shall be allowed on any part of the servitude road unless absolutely necessary. The removal of all economically valuable trees or bush shall be negotiated with the Landowner before such plants are removed. All trees and bush cleared from the site shall be cut into manageable lengths and neatly stacked at regular intervals along the line. No bush shall be pushed into heaps or left lying all over the veld.

Bush clearing on tower sites must be kept to a minimum. Big trees with large root systems shall be cut manually and removed, as the use of a bulldozer will cause major damage to the soil when the root systems are removed. Stumps shall be treated with herbicide. Smaller bush can be flattened with a machine, but the blade should be kept above ground level to prevent scalping. Any bush cleared on a tower site shall be removed or flattened and not be pushed to form an embankment around the tower.

No bush clearing in the form of de-stumping, scalping or uprooting shall be allowed on river- and stream banks. Bush shall only be cut to allow for the passage of the pilot-cables and headboard. No bush clearing shall be allowed across bush filled ravines and gullies, as this vegetation will very rarely interfere with the clearance to the strung conductor. Trees and bush not interfering with the statutory clearance to the conductors can be left under the line. Dense bush under the line which could cause a fire hazard, particularly in the middle third of the span in the vicinity of the lowest point of the conductors, will be considered as a separate case.

No protected or endangered species of plants shall be removed without A PERMIT from Nature Conservation, the Landowner and Eskom. Where such species have to be removed due to interference with a structure, the necessary permission and permits shall be obtained.

The use of herbicides shall only be allowed after a proper investigation into the necessity, the type to be used, the long-term effects and the effectiveness of the agent. Eskom's approval for the use of herbicides is mandatory (Contact Dr. Eugene van Rensburg—TRI, 082 451 1994). Application shall be under the direct supervision of a qualified technician. All surplus herbicide shall be disposed of in accordance with the supplier’s specifications.

It is recommended that a contractor for bush clearing should comply with the following parameters:

The contractor must have the necessary knowledge to be able to identify protected species as well as species not interfering with the operation of the line.

The contractor must also be able to identify declared weeds and alien species that can be totally eradicated.

The contractor must be in possession of a valid herbicide applicators licence.

(Specifics about the project)

### 4.7.1.	Management objective

Minimise damage to vegetation

Keep servitude as natural looking as possible

Minimise interference by vegetation to flow of electricity

Minimise possibility of erosion due to removal of vegetation

Minimise removal of plant material on river and stream embankments

### 4.7.2.	Measurable targets

Only 8m bush cleared along the centre of the servitude

No trees and bush removed unnecessarily

No vegetation interfering with structures and statutory distances upon completion of the contract

No de-stumping of vegetation on river and stream embankments

No visible erosion scars three months after completion of the contract due to vegetation removal

No visible damage to the vegetation along the servitude one year after completion of the contract due to herbicide use

No litigation due to unauthorised removal of vegetation

## 4.8.	Gate installation and gate control

The contractor is referred to the Fencing Act, Act no 31 of 1963. Gate installation shall be according to TRMSCAAC1 REV 2 section 4.8 and the drawing 0.00/10261 Rev 2 as stated in the specifications. Game gates, drawing 0.00/10280 Rev 0, shall be installed where necessary. All gates installed in electrified fencing shall be electrified as well (TRMSCAAC1 REV 2). The Environmental Control Officer shall approve gate positions.

All gates shall be fitted with locks and be kept locked at all times during the construction phase. Gates shall only be left open on request of the Landowner if he accepts partial responsibility for such gates in writing, once the Contractor have left site and the gates are fitted with Eskom locks. Such gates shall be clearly marked by painting the posts green. All claims arising from gates left open shall be investigated and settled in full by the Contractor. If any fencing interferes with the construction process, such fencing shall be deviated until construction is completed.

(Specifics about the project)

### 4.8.1.	Management objective

Properly installed gates to allow access to the servitude

Minimise damage to fences

Limit access to Eskom and Contractor personnel with gate keys

### 4.8.2.	Measurable targets

No transgressions of the fencing act and therefore no litigation

No damage to fences and subsequent complaints from Landowners

All gates equipped with locks and kept locked at all times to limit access to key holders

All fences properly tied off to the gate posts

All gates properly and neatly installed according to specifications

No complaints about open gates

## 4.9.	Fire prevention

No open fires shall be allowed on site under any circumstance (The Forest Act, No 122 of 1984, TRMSCAAC1 REV 2). The Contractor shall have fire-fighting equipment available on all vehicles working on site, especially during the winter months.

### 4.9.1.	Management objective

Minimise risk of veld fires

Minimise damage to grazing

### 4.9.2.	Measurable targets

No veld fires started by the Contractor’s work force

No claims from Landowners for damages due to veld fires

No litigation

## 4.10.	Servicing of vehicles

Servicing of vehicles in the veld is strictly prohibited. Only emergency repairs shall be allowed on site. All vehicles shall be serviced in the designated area inside the Contractors camp. In the event of a breakdown in the veld, any oil spills shall be cleaned up immediately. The following shall apply:

All contaminated soil shall be removed and be placed in containers. Contaminated soil can be taken to one central point at the Contractors campsite where bio-remediation can be done.

Bigger spills can be treated on site.

A specialist Contractor shall be used for the bio-remediation of contaminated soil.

The area around the fuel storage drum at the Contractor’s campsite shall also be re-mediated upon completion of the contract

For further details contact John Geeringh at 011 800 2465. All oil spills must be reported to John Geeringh.

All old parts, packaging, old oil, etc. shall be disposed of in the correct manner and in a proper area designated for such waste materials. Under no circumstances shall such waste be buried on site indiscriminately.

### 4.10.1.	Management objective

Prevention of pollution of the environment

Minimise chances of transgression of the acts controlling pollution

### 4.10.2.	Measurable targets

No pollution of the environment

No litigation due to transgression of pollution control acts

No complaints from Landowners

## 4.11.	CLAIMS FOR DAMAGES

All anticipated crop damage shall be noted while access negotiations are underway. All damage to commercial crops shall be recorded immediately. The Environmental Control Officer should also keep a photographic record of such damage. The date, time of damage, type of damage and reason for the damage shall be recorded in full to ensure the responsible party is held liable. All claims for compensation emanating from crop damage should be directed to the Environmental Control Officer for appraisal. The Contractor shall be held liable for all unnecessary damage to the environment and crops. A register shall be kept of all complaints from Landowners. All claims shall be handled immediately to ensure timeous rectification / payment.

### 4.11.1.	Management objective

Minimise complaints from Landowners

Prevent litigation due to outstanding claims

Successful completion of the contract and all Landowners signing release forms

### 4.11.2.	Measurable targets

All claims investigated and settled within one month

No litigation due to unsettled claims

All Landowners signing release forms within six months after completion of the contract

## 4.12.	Tower positions

Refer to TRMSCAAC1 REV 2 SECTION 4.7 for specifications concerning tower sites on slopes. Disturbance of topsoil on tower sites with severe slopes shall be minimised at all costs. At any tower sites where conventional foundations are installed, the Contractor shall remove the topsoil separately and store it for later use during rehabilitation of such tower sites. During backfilling operations, the Contractor shall take care not to dump the topsoil in the bottom of the foundation and then put spoil on top of that.

Extra seed shall be sown on disturbed areas as directed by the Environmental Control Officer. In accordance with the Conservation of Agricultural Resources Act, No 43 of 1983, slopes in excess of 2% must be contoured and slopes in excess of 12% must be terraced. Other methods of rehabilitation of tower sites may also be used at the discretion of the Environmental Control Officer, e.g. stone pitching, logging, etc. Contour banks shall be spaced according to the slope on tower sites. The type of soil shall also be taken into consideration.

A mixture of grass seed can be used provided the mixture is carefully selected to ensure the following:

a)	Annual and perennial grasses are chosen.

b)	Pioneer species are included.

c)	All the grasses shall not be edible.

d)	Species chosen will grow in the area without many problems.

e)	Root systems must have a binding effect on the soil.

f)	The final product should not cause an ecological imbalance in the area.

To get the best results in a specific area, it is a good idea to consult with a specialist or the local extension officer of the Dept of Agriculture. Seed distributors can also give valuable advice as to the mixtures and amount of seed necessary to seed a certain area. Re-seeding, as well as fencing in of badly damaged areas, will always be at the discretion of the Environmental Control Officer, unless specifically requested by a Landowner.

(Specifics about the project, special tower positions, helicopter construction, etc.)

### 4.12.1. Management objective

Minimise damage to topsoil and environment at tower positions

Successful rehabilitation of all damaged areas

Prevention of erosion

### 4.12.2. Measurable targets

No loss of topsoil due to construction activities

All disturbed areas successfully rehabilitated within three months of completion of the contract

No visible erosion scars three months after completion of the contract

## 4.13.	Winch- and tensioner stations

Specifications require the protection of Eskom supplied material on site, especially conductor drums. This normally means that a firebreak is bladed around a drum station in the veld. These areas are left to rehabilitate on their own which could be disastrous. Once the stringing of conductor has been completed in a certain area, the winch- and tensioner stations shall be rehabilitated where necessary. If the area was badly damaged, re-seeding shall be done and fencing in of the area shall be considered and carried out. For seeding the same provisions as in 4.12 shall apply. (See also 4.12 about slopes).

Fencing in of the storage areas for drums on site is also proposed, as this will keep out animals and prevent injury. Should the Contractor want to leave guards on site, this should be discussed and negotiated with the Landowner. Proper facilities must be provided to ensure sanitation standards are met. Mobile toilets shall be installed at such sites where a large number of the workforce is concentrated.

### 4.13.1.	Management objective

Minimise damage to vegetation

Minimise damage to topsoil

Successful rehabilitation of barren areas

### 4.13.2.	Measurable targets

No damage to vegetation outside the servitude

No loss of topsoil

No visible erosion three months after completion of the contract

All disturbed areas successfully rehabilitated three months after completion of the contract

## 4.14.	Batching plants

Refer to TRMSCAAC1 REV 2 section 4.13 for specifications regarding batching plants. Eskom shall ensure that all agreements reached with the Landowner are fulfilled, and that such areas be rehabilitated once construction is completed. Should any claim be instituted against Eskom, due to the actions of the Contractor at a batching plant site, Eskom shall hold the Contractor fully responsible for the claim until such time that the Contractor can prove otherwise with the necessary documentation.

### 4.14.1.	Management objective

To ensure all agreements with Landowners are adhered to

Prevention of complaints from Landowners

Successful rehabilitation of disturbed areas

### 4.14.2.	Measurable targets

No complaints from Landowners

All disturbed areas successfully rehabilitated three months after completion of the contract

## 4.15.	STRINGING OPERATIONS

The necessary scaffolding must be installed to prevent damage to structures supporting certain perennial crops, such as grapes, as well as the crops itself (Refer TRMSCAAC1 REV 2 section 8.2.1.7). All structures supplying services such as telephone and smaller power lines, as well as farm roads, shall be safeguarded by measures to prevent disruption of services (see Section7.4).

(Specifics about the project, known problems, etc.)

### 4.15.1.	Management objective

Prevent damage to expensive structures and crops

Prevent disruption of services

### 4.15.2.	Measurable targets

No claims emanating from damage to supporting structures and crops

No complaints or claims arising from disruption of services

# 5.	SOCIAL ISSUES AND THEIR CONTROL

## 5.1.	Sanitation

The Contractor shall install mobile toilets on site (TRMSCAAC1 REV 2). Staff shall be sensitised to the fact that they should use these toilets at all times. Should the workers make use of the veld, all stools shall be buried.

### 5.1.1.	Management objective

Ensure that proper sanitation is achieved

### 5.1.2.	Measurable target

No complaints received from Landowners regarding sanitation

## 5.2.	Prevention of disease

Applicable where the transmission line traverses land where stock (cattle and sheep) and game farming is practised. The Contractor shall take all the necessary precautions against the spreading of disease, especially under livestock. Refer to Section 5.2 and TRMSCAAC1 REV 2 regarding prevention measures. A record shall be kept of drugs administered and the dates when this was done. This can then be used as evidence in court should any claims be instituted against Eskom or the Contractor. The workforce shall also be sensitised to the effects of sexually transmitted diseases, especially AIDS.

### 5.2.1.	Management objective

Prevent litigation due to infestation of livestock

### 5.2.2.	Measurable targets

No complaints from Landowners

No litigation

## 5.3.	Interaction with landowners

The success of a project this size depends a lot on the good relations with the Landowners. It is therefore required that the Contractor will supply one person to be the liaison officer for the entire contract, and that this person shall be available to investigate all problems arising on the work sites concerning the Landowners (TRMSCAAC1 REV 2)

All negotiations for any reason shall be between Eskom, the Landowner and the Contractor. NO verbal agreements shall be made. All agreements shall be recorded properly and all parties shall co-sign the documentation. It is proposed that the Contractor keep a photographic record of access roads. This will then be available should any claims be instituted by any Landowners. Any claims instituted by the Landowners shall be investigated and treated promptly. Unnecessary delays should be avoided at all costs.

The Landowners shall always be kept informed about any changes to the construction programme should they be involved. If the Environmental Control Officer is not on site the Contractor's liaison officer should keep the Landowners informed. The contact numbers of the Contractor’s liaison officer and the Eskom ECO shall be made available to the Landowners. This will ensure open channels of communication and prompt response to queries and claims.

All contact with the Landowners shall be courteous at all times. The rights of the Landowners shall be respected at all times and all staff shall be sensitised to the effect that we are working on private property.

### 5.3.1.	Management objective

Maintain good relations with Landowners

### 5.3.2.	Measurable targets

No delays in the project due to Landowner interference

## 5.4.	Littering control

Littering by the employees of the Contractor shall not be allowed (TRMSCAAC1 REV 2 section 4.1.3c and Environment Conservation Act, No 73 of 1989). The Environmental Control Officer shall monitor the neatness of the work sites as well as the campsite.

### 5.4.1.	Management objective

Neat workplace and site

### 5.4.2.	Measurable targets

No complaints from Landowners

# 6.	BIOLOGICAL ISSUES AND THEIR CONTROL

## 6.1.	Fauna

Construction activities must be planned carefully so as not to interfere with the calving and lambing season for most animal species. The Contractor’s workforce will have to be very careful not to disturb the animals as this may lead to fatalities which will give rise to claims from the Landowners.

The Contractor shall under no circumstances interfere with livestock without the Landowner being present. This includes the moving of livestock where they interfere with construction activities. Should the Contractors workforce obtain any livestock for eating purposes, they must be in possession of a written note from the Landowner.

(Specifics about the project)

### 6.1.1.	Management objective

Minimise disruption of farming activities

Minimise disturbance of animals

### 6.1.2.	Measurable targets

No stock losses where construction is underway

No complaints from Landowners

No litigation concerning stock losses and animal deaths

## 6.2.	Flora

Protected or endangered species may occur along the line route. Special care should be taken not to damage or remove any such species unless absolutely necessary. Permits for removal must be obtained should such species be affected. All plants not interfering with the operation of the line shall be left undisturbed. Collection of firewood is strictly prohibited.

(Specifics about the project)

### 6.2.1.	Management objective

Minimal disturbance to vegetation where such vegetation does not interfere with construction and operation of the line

Prevention of litigation concerning removal of vegetation

### 6.2.2.	Measurable targets

No litigation due to removal of vegetation without the necessary permits

## 6.3.	Herbicide use

Herbicide use shall only be allowed with the approval of Eskom. The application shall be according to set specifications and under supervision of a qualified technician. The possibility of leaching into the surrounding environment shall be properly investigated and only environmentally friendly herbicides shall be used (see section 4.7. BUSH CLEARING).

### 6.3.1. Management objective

Control over the use of herbicides

### 6.3.2. Measurable targets

No signs of vegetation dying due to leaching of herbicides one year after completion of the bush clearing

No Landowner complaints and litigation

# 7.	CULTURAL ISSUES AND THEIR CONTROL

## 7.1.	Archaeology

Should any archaeological sites be uncovered during construction, their existence shall be reported to Eskom immediately, John Geeringh to be informed at 011 800 2465. The position of known sites will be shown on the final profiles. Such areas shall be marked as no go areas. Artefacts shall not be removed under any circumstances. Any destruction of a site can only be allowed once a permit is obtained and the site has been mapped and noted. The permit must be obtained from the National Museum.

(Specifics about the project)

### 7.1.1.	Management objective

Protection of archaeological sites and land considered to be of cultural value

Protection of known sites against vandalism, destruction and theft

The preservation and appropriate management of new archaeological finds should these be discovered during construction

### 7.1.2.	Measurable targets

No destruction of or damage to known archaeological sites

Management of existing sites and new discoveries in accordance with the recommendations of the  Archaeologist

## 7.2.	Monuments/historical sites

All monuments and historical sites shall be treated with the utmost respect. Any graves shall be clearly marked and treated as no go areas. No destruction of any site shall be allowed. Should it be necessary to remove any graves, the necessary procedures shall be followed and permits obtained.

(Specifics about the project)

### 7.1.1. Management objective

Protection of sites and land considered to be of cultural value

Protection of known sites against vandalism, destruction and theft

The preservation and appropriate management of new finds should these be discovered during construction

### 7.1.2. Measurable targets

No destruction of or damage to known sites

Management of existing sites and new discoveries in accordance with legislation

No litigation due to destruction of sites

## 7.3.	Farmhouses / buildings

If and where the lines cross any inhabited area, the necessary precautions shall be taken by the Contractor to safeguard the lives and property of the inhabitants. The Contractor shall under no circumstances interfere with the property of Landowners.

If water is required, the Contractor shall negotiate with the relevant Landowner and a written agreement shall be drawn up (TRMSCAAC1 REV 2 section 4.14).

(Specifics about the project)

### 7.3.1.	Management objective

Control over actions and activities in close proximity to inhabited areas

### 7.3.2.	Measurable targets

No complaints from Landowners

No damage to private property

## 7.4.	Infrastructure

No telephone lines shall be dropped during the stringing operations. All crossings shall be with at least rugby posts to protect the lines. Where pipe lines are found along the route, the depth of the pipes under the surface shall be determined to ensure that proper protection is afforded to such structures.

All existing private access roads used for construction purposes, shall be maintained at all times to ensure that the local people have free access to and from their properties. Speed limits shall be enforced in such areas and all drivers shall be sensitised to this effect.

Many Landowners use irrigation for farming activities. Power cuts to facilitate construction and especially stringing must be carefully planned. If possible disruptions must be kept to a minimum and should be well advertised and communicated to the Landowners. Care must be taken not to damage irrigation equipment, lines, channels and crops, as this could lead to major claims being instituted against Eskom and the Contractor. The position of all pipelines and irrigation lines must be obtained from the Landowners and be shown on the physical access plan.

(Specifics about the project)

### 7.4.1.	Management objective

The control of temporary or permanent damage to plant and installations

Control of interference with the normal operation of plant and installations

Securing of the safe use of infrastructure, plant and installations

### 7.4.2.	Measurable targets

No unplanned disruptions of services

No damage to any plant or installations

No complaints from authorities or Landowners regarding disruption of services

No litigation due to losses of plant, installations and crops

# 8.	PROBLEMS FORESEEN IN THE AREA

## 8.1.	Pre-construction

Most Landowners will see the construction period as interference with their daily activities. There will be a negative attitude towards the whole construction process. Landowners are always apprehensive toward changes they do not control.

## 8.2.	DURING CONSTRUCTION

Due to the current security situation Landowners are not comfortable when strangers come on to their properties. They will look for reasons to interfere with the construction process and may therefore cause delays in the process that can be very costly to Eskom and the Contractor.

(Specifics about the project)

The Contractor is reminded that access shall not be continuous along the servitude and allowance must be made for the translocation of equipment around obstacles such as rivers and irrigation channels.

No camping shall be allowed on any private property. If the Contractor wants to leave guards on site, it shall only be done with the written consent of the Landowners involved.

Damage to fences, gates and other infrastructure may occur at any time. This will create problems with the Landowners and should be avoided as far as possible.

The use of private roads for construction purposes always leads to damage due to heavy equipment and frequent use. It is foreseen that the Contractor will receive many complaints in this regard, especially during the rainy season.

## 8.3.	After construction

If damaged infrastructure is not repaired to the expectations of the Landowners, they may refuse to sign the release forms and even engage in litigation. Outstanding claims may also result in release forms not being signed by the Landowners.

# 9.	POSSIBLE SOLUTIONS TO THE PROBLEMS

9.1.	Proper liaison between Eskom, the Contractor and Landowners.

9.2.	A physical access plan along the servitude shall be compiled and the Contractor shall adhere to this plan at all times. Proper planning when the physical access plan is drawn up by the Environmental Control Officer in conjunction with the Contractor shall be necessary to ensure access to all tower sites.

9.3.	The Landowners shall be informed of the starting date of construction as well as the phases in which the construction shall take place.

9.4.	The Contractor must adhere to all conditions of contract including the Environmental Management Programme.

9.5.	Proper planning of the construction process to allow for disruptions due to rain and very wet conditions.

9.6.	All servitude gates on a section of the line route shall be completely installed before any construction activities are undertaken.

9.7.	Where existing private roads are in a bad state of repair, such roads’ condition shall be documented before they are used for construction purposes. If necessary some repairs should be done to prevent damage to equipment and plant.

9.8.	All manmade structures shall be protected against damage at all times and any damage shall be rectified immediately.

9.9.	Rehabilitation of the servitude roads shall be done properly to ensure all Landowners sign the release forms. The Contractor shall ensure that all damaged areas are rehabilitated to the satisfaction of Eskom and each and every property owner and that outstanding claims are settled.

9.10.	Proper site management and regular monitoring of site works.

9.11.	Proper documentation and record keeping of all complaints and actions taken.

9.12.	Regular site inspections and good control over the construction process throughout the construction period.

9.13. A positive attitude towards Environmental Management by all site personnel.

9.14. Appointment of a Landowner Liaison Officer on behalf of the Contractor to implement this EMP as well as deal with all Landowner related  matters.

9.15.	Environmental Audits to be carried out during and upon completion of construction (at least two for the project).

9.16.	The Contractor shall not be released from site until all Landowners have signed off the release documentation to the satisfaction of the Environmental Control Officer.

# 10.	TOWER SPECIFIC PROBLEM AREAS

Tower specific problems are shown on the profiles and accompanying photographs (Appendix 13.2). No-go areas are also identified on the profiles.

## 10.1.	Estimated quantities for special works along the servitude

### 10.1.1.	Water diversion berms

The contractor shall allow for the installation of water diversion berms as per the contract schedule. Berms shall be installed according to TRMSCAAC1 rev 2. It is foreseen that approximately _____km of servitude through natural veld will require water diversion berms on the servitude road. IN THE SECTION OF THE LINE THAT RUNS THROUGH CROP FARMING AREAS, BERMS ARE NOT REQUIRED. Contour berms in crop farming areas shall be protected and rehabilitated upon completion of the contract. Berms will only be installed on private roads following special requests from Landowners. Existing berms on private roads shall however be maintained and repaired where required. Approximate quantities required:

In situ	: ____ water diversion berms

Imported material	: ____ water diversion berms

10.1.2.	Concrete pipes	: ____ crossings

10.1.3.	Protection of irrigation lines	: ____ crossings

10.1.4.a.	Bush clearing (km)	: ____km 8m wide strip

10.1.4.b.	Bush clearing (km)(Selective)	: ____km 55m wide strip

10.1.5.	Special stringing arrangements

The Contractor will not be able to cross a river with conventional tractors pulling the pilot cable. Some other solution needs to be found for a river crossing.

The section of line crossing the _________ where special measures are required to protect the _________ (approximately 200m).

(Any specifics about the project)

# 11.	PHYSICAL ACCESS PLAN

The Contractor, in conjunction with the Environmental Control Officer and Landowners, shall draft a physical access plan. No decisions shall be made without the consent of the Landowner. The standard Eskom site documentation shall be used. All agreements should be in writing and well documented.

The physical access plan shall allow for the installation of concrete pipes and drifts where such structures may be needed to facilitate access. The Environmental Control Officer shall use his own discretion as to what special measures will be necessary to ensure access (Refer also Section 10.1).

# 12.	SITE DOCUMENTATION / MONITORING / REPORTING

The standard Eskom site documentation shall be used to keep records on site. All documents shall be kept on site and be available for monitoring purposes. Site inspections by an Environmental Audit Team may require access to this documentation for auditing purposes. The documentation shall be signed by all parties to ensure that such documents are legal. Regular monitoring of site works by the Environmental Control Officer is imperative to ensure that all problems encountered are solved punctually and amicably. When the Environmental Control Officer is not available, the Contract Manager/Site Supervisor shall keep abreast of all works to ensure no problems arise.

Two-weekly reports shall be forwarded to the Transmission Environmental Section (Attention John Geeringh, Fax: 011 800 3917) with all information relating to environmental matters. The following Key Performance Indicators must be reported on a two-weekly basis:

Complaints received from Landowners and actions taken.

Environmental incidents, such as oil spills, concrete spills, etc. and actions taken (litigation excluded).

Incidents possibly leading to litigation and legal contravention’s.

Environmental damage that needs rehabilitation measures to be taken.

The following documentation shall be kept on site:

12.1.	Access negotiations and physical access plan.

12.2.	Complaints register.

12.3.	Site daily dairy.

12.4.	Records of all remediation / rehabilitation activities.

12.5.	Copies of two-weekly reports to the Senior Environmental Advisor, John Geeringh at MWP.

12.6.	Copy of the Environmental Management Programme.

# 13.	APPENDICES

13.1.	LANDOWNER SPECIAL CONDITIONS.(in final document)

13.2.	PROFILE SHEETS AND PHOTOGRAPHS.(In final document)

13.3.	ESKOM ENVIRONMENTAL POLICY.(in final document)

13.4.	ESKOM BUSHCLEARING STANDARD – ESKASABG3 rev 0. (in final document)

13.5.	RECORD OF DECISION FROM DEAT.(in final document)

# 14.	REFERENCES

Conservation of Agricultural Resources Act, Act 43 of 1983 and amendments.

Environmental Impact Report.

Eskom Environmental Policy, ESKPBAAD6, REV 6.

Eskom Environmental Management Procedure, ESKPVAAZ1 REV 1.

Eskom Guidelines for Herbicide Use, TRR/S91/032.

Environment Conservation Act, Act 73 of 1989 and amendments.

Fencing Act, Act 31 of 1963 and amendments.

Forest Act, Act 122 of 1984 and amendments.

Herbicide Management, ESKPBAAD4 REV 0

Record of Decision – DEAT.

Standard for bush clearance and maintenance within overhead power line servitudes, ESKASABG3 REV 0

Specification for line construction, TRMSCAAC1 REV 2.