## 1. LIST OF OFF TAKERS & METERS
Offtaker / Site Name | Grid Connection Location | Account Number | Meter GPS Co-ordinates |  | Meter Manufacturer: | Meter Type: | Meter No | Meter Connection Type
The registered name of the offtaker (company or individual) that will be receiving the energy. | Indicates the distribution network the offtaker is connected to, specifying “Eskom” or the specific municipality (e.g., "City of Cape Town"). | The official account number of the offtaker for their energy service provider. For Eskom-connected offtakers, this will be the Eskom account number; for municipal connections, provide the municipality’s account number if available. This is critical for billing and tracking purposes.. | Latitude - This indicates the north-south position and is given in degrees (°), with values ranging from -90° to 90°.Format Example: -33.9249° for Cape Town, South Africa.) | Longitude - This indicates the east-west position and ranges from -180° to 180°. Format Example: 18.4241° for Cape Town, South Africa. | Example: Landis and Gyr or Kamstrup Not required if Grid Connection Location is Eskom | Example: ZMD610 or e meter Not required if Grid Connection Location is Eskom | Typically the 13 digit number on the meter Not required if Grid Connection Location is Eskom | Direct Connect Meter: Indcate if this if the meter is connected directly to the main supply line without additional transformers. Direct meters are typically used for lower-capacity installations. CT Connect Meter: Indicate this if the meter is connected through a Current Transformer (CT), which steps down the current to a manageable level for high-capacity installations. CT meters are commonly used in industrial and high-power setups. For each CT meter, complete a commisioing sheet as per SANS 474 in the template provided in tab ''3. CT METER COMM SHEET'' Not required if Grid Connection Location is Eskom

## 2. CT METER COMMS SHEET
Meter Onboardign Checklist for Eskom Virtual Wheeling Program
For CT Connect Meters (any size)
Purpose: | To verify that the meter installation complies to Eskom requirements
Buyer Site Name:
Buyer Site Unique Identifier:
GPS co-ordinates: |  |  | Lat: |  |  |  |  | Long:
Grid supplier |  |  | Eskom: |  |  |  |  | Municipality:
Municipality Name:
Connection Type: |  |  |  | 1-Phase |  | 3 - Phase 3-wire | [5 empty] | 3 - Phase 4-wire
Connection Voltage: |  |  |  | 11kV |  | 6.6kV |  |  | 400V |  |  | 230V
Meter Manufacturer:
Meter Model: | [7 empty] | Meter Class: |  |  |  |  | 1 | 0.5
Meter Number (13 digit):
Meter Install Date: | [7 empty] | Month & year
Date Sealed: | [7 empty] | Seal No:
VT Manufacturer:
VT Model No: | [7 empty] | VT Accuracy Class: |  |  |  |  | 1 | 0.5
Metering Class VT ? |  |  |  | Y |  | N
CT Manufacturer:
CT Model No: | [7 empty] | CT Accuracy Class: |  |  |  |  | 1 | 0.5
Metering Class CT ? |  |  |  | Y |  | N
Singl/Dual Core CT: |  |  | Single |  |  |  |  | Dual
Connected CT Ratio:
Meter Tests to be performed:
Test equipment type: |  |  | Clamp Meter |  |  |  |  | Multimeter
Test equipment manuf:
Test equipment model:
Test equip. calibr. date:
Voltage Test: |  | Reference Value: |  |  | Metered value: |  |  | Variance |  |  |  | Pass if variance <5%
Phase 1 |  |  |  | V |  |  | V | [5 empty] | Tick
Phase 2 |  |  |  | V |  |  | V | [5 empty] | Tick
Phase 3 |  |  |  | V |  |  | V | [5 empty] | Tick
Current Test: |  | Measure primary current to verify CT ratio | [8 empty] | Variance |  |  | Pass if variance
|  | Primary Value: |  |  | Secondary value: |  |  | Ratio: |  | (Measured vs calculated) |  |  |  | <5%
Phase 1 |  |  |  | A |  |  | A | [7 empty] | Tick
Phase 2 |  |  |  | A |  |  | A | [7 empty] | Tick
Phase 3 |  |  |  | A |  |  | A | [7 empty] | Tick
Meter on-site accuracy test:
kWh accuracy: | [5 empty] | kvarh accuracy:
Meter CT and VT ratios:
Meter on-site ratios: |  |  | VT ratio: |  |  |  |  | CT ratio:
Remote system ratios: |  |  | VT ratio: |  |  |  |  | CT ratio: |  |  |  |  | Multiplication factor:
The following photos are to be provided:
DB with covers removed:
Close-up of meter, showing: - Meter number - Cover seal & number - Terminals showing wiring
General photo of CT installation:
Close-up of CT, showing rating label:
Close-up of VT nameplate, showing rating label: