## Capacity Table 01 Dec 2021
Power station capacities as at 01 Dec 2021
The difference between installed and nominal capacity reflects auxiliary power consumption and reduced capacity caused by the age of plant.
Name of station | Location | Years commissioned - first to last unit | Number and installed capacity of generator sets MW | Total installed capacity MW | Total nominal capacity MW
Generation Group power stations
Base-load stations
Coal-fired (15) |  |  |  | 44013 | 39456
Arnot 2 | Middelburg | Sep 1971 to Aug 1975 | 6x370 | 2220 | 2100
Camden 1, 2 | Ermelo | Mar 2005 to Jun 2008 | 3x200; 1x196; 2x195; 1x190; 1x185 | 1561 | 1481
Duvha 8 | Emalahleni | Aug 1980 to Feb 1984 | 5x600 | 3000 | 2875
Grootvlei1,7 | Balfour | Apr 2008 to Mar 2011 | 4x200; 2x190 | 1180 | 570
Hendrina 2,6,7 | Middelburg | May 1970 to Dec 1976 | 5x200; 1x195; 1x191; 1x170; 167x1 | 1723 | 1098
Kendal 3 | Emalahleni | Oct 1988 to Dec 1992 | 6x686 | 4116 | 3840
Komati 1,7 | Middelburg | Mar 2009 to Oct 2013 | 4x100; 4x125; 1x90 | 990 | 114
Kriel | Bethal | May 1976 to Mar 1979 | 6x500 | 3000 | 2850
Lethabo | Vereeniging | Dec 1985 to Dec 1990 | 6x618 | 3708 | 3558
Majuba 3 | Volksrust | Apr 1996 to Apr 2001 | 3x657; 3x713 | 4110 | 3843
Matimba 3 | Lephalale | Dec 1987 to Oct 1991 | 6x665 | 3990 | 3690
Matla | Bethal | Sep 1979 to Jul 1983 | 6x600 | 3600 | 3450
Tutuka | Standerton | Jun 1985 to Jun 1990 | 6x609 | 3654 | 3510
Kusile3 | Ogies | Aug 2017 to | 3x799 | 2397 | 2160
Medupi3 | Lephalale | Aug 2015 to | 6x794 | 4764 | 4317
Nuclear (1)
Koeberg | Cape Town | Jul 1984 to Nov 1985 | 1x970; 1x964 | 1934 | 1854
Peaking stations
Gas/liquid fuel turbine stations (4) |  |  |  | 2426.3 | 2409
Acacia | Cape Town | May 1976 to Jul 1976 | 3x57 | 171 | 171
Ankerlig | Atlantis | Mar 2007 to Mar 2009 | 4x149.2; 5x148.3 | 1338.3 | 1327
Gourikwa | Mossel Bay | Jul 2007 to Nov 2008 | 5x149.2 | 746 | 740
Port Rex | East London | Sep 1976 to Oct 1976 | 3x57 | 171 | 171
Pumped storage schemes (3) 4 |  |  |  | 2732 | 2724
Drakensberg | Bergville | Jun 1981 to Apr 1982 | 4x250 | 1000 | 1000
Palmiet | Grabouw | Apr 1988 to May 1988 | 2x200 | 400 | 400
Ingula | Ladysmith | June 2016 to Feb 2017 | 4x333 | 1332 | 1324
Hydroelectric stations (2) 5 |  |  |  | 600 | 600
Gariep | Norvalspont | Sep 1971 to Mar 1976 | 4x90 | 360 | 360
Vanderkloof | Petrusville | Jan 1977 to Feb 1977 | 2x120 | 240 | 240
Renewables power stations
Wind energy (1)
Sere9 | Vredenburg | Mar 2015 | 46x2.3 | 100 | 100
Other hydroelectric stations (4) |  |  |  | 61.4 | 61.4
Mbashe9 | Mbashe River |  | 3x14 | 42 | 42
First Falls9 | Umtata River |  | 2x3 | 6 | 6
Ncora9 | Ncora River |  | 2x0.4; 1x1.6 | 2.4 | 2.4
Second Falls9 | Umtata River |  | 2x5.5 | 11 | 11
Total Renewables power station capacities (5) |  |  |  | 161.4 | 161.4
Solar energy |  |  |  | 0 | 0
Concentrating solar power | Upington | Under construction |  | ─ | ─
Total Generation power station capacities (30) |  |  |  | 51866.7 | 47204.4
Nominal capacity |  |  |  |  | 91.01%
Total Generation power station capacities (30) less wind and other hydros |  |  |  | 51705.3 | 47043
Nominal capacity |  |  |  |  | 90.98%
IPP capacity |  |  |  |  | 0
Hydroelectric energy
Wind energy
Solar energy
Gas/liquid fuel energy
Total nominal capacity available to the grid - Eskom and IPPs |  |  |  |  | 47204.4
1. Former moth-balled power stations that have been returned to service. The original commissioning dates were:
Komati was originally commissioned between Nov 1961 and Mar 1966.
Camden was originally commissioned between Aug 1967 and Sep 1969.
Grootvlei was originally commissioned between Jun 1969 and Nov 1977.
2. Due to technical constraints, some coal-fired units at these stations have been de-rated.
3. Dry-cooled unit specifications based on design back-pressure and ambient air temperature.
4. Pumped storage facilities are net users of electricity. Water is pumped during off-peak periods so that electricity can be generated during peak periods.
6. Hendrina unit 3 is under extended inoperability
7. Due to financial constraints, some units at these stations have been placed in reserve storage and their capacity removed from the nominal base.
8. Duvha Unit 3 Recovery Project has been cancelled
9. Transferred to the Generation Division from 1 March 2021 but are not currently considered for Technical KPI calculations.

## Units taken off Nominal Base
Units taken off Nominal base
Station | Unit | MW | Date | Reason
Duvha | 3 | 575 | 2017-12-01 | Extended InOperability | NB: DV03 was excluded from the Gx EAF for the entire FY2018
Hendrina | 1 | 160 | 2018-04-01 | Reserve Storage
| 3 | 185 | 2017-06-01 | Extended InOperability
| 8 | 190 | 2019-06-01 | Reserve Storage
| 9 | 185 | 2018-10-17 | Reserve Storage
Grootvlei | 4 | 190 | 2018-04-01 | Reserve Storage
| 5 | 180 | 2018-04-01 | Reserve Storage
| 6 | 180 | 2018-04-01 | Reserve Storage
Komati | 1 | 91 | 2018-04-01 | Reserve Storage
| 2 | 91 | 2018-09-01 | Reserve Storage
| 3 | 84 | 2018-09-01 | Reserve Storage
| 4 | 91 | 2020-06-01 | Reserve Storage
| 5 | 91 | 2019-06-01 | Reserve Storage
| 6 | 114 | 2018-04-01 | Reserve Storage
| 7 | 114 | 2019-09-01 | Reserve Storage
| 8 | 114 | 2018-08-01 | Reserve Storage
2635
6. Duvha unit 3 and Hendrina unit 3 are under extended temporary inoperability and were removed from the nominal base.
7. The following units have been removed from the nominal base: Komati 1, 2, 3, 5 and 8, Grootvlei 4, 5 and 6 and Hendrina 1

## Commercial Units
2. Power Station Commercial Capacities as at 01 September 2021
| Unit 1 | Unit 2 | Unit 3 | Unit 4 | Unit 5 | Unit 6 | Unit 7 | Unit 8 | Unit 9 | Unit 10 | Total Capacity
CahoraBassa (Snapshot actual) | [10 empty] | 1500
Coal-fired Stations | [10 empty] | 39456 |  | Nominal | Installed
Medupi | 720 | 720 | 720 | 720 | 717 | 720 |  |  |  |  | 4317 | Hendrina U2 capacity rerating (increase) by 30MW | 30 | 40
Kusile | Unit 1: 720; Unit 2: 720; Unit 3: 720 | 2160 | Kusile U1 commercial operation (720MW) | 720 | 799
Duvha | Unit 1: 575; Unit 2: 575; Unit 4: 575; Unit 5: 575; Unit 6: 575 | 2875 | Medupi 04 & 05 commercial operation (720MW & 717MW respectively) | 1437 | 1588
Kendal | 640 | 640 | 640 | 640 | 640 | 640 |  |  |  |  | 3840 | Total MW added in FY2018 | 2187 | 2427
Majuba | 612 | 612 | 612 | 669 | 669 | 669 |  |  |  |  | 3843 | Duvha unit 3 removed from installed/nominal base (575MW) | 575
Matimba | 615 | 615 | 615 | 615 | 615 | 615 |  |  |  |  | 3690 | Hendrina unit 3 removed from installed/nominal base (185MW) | 185
Matla | 575 | 575 | 575 | 575 | 575 | 575 |  |  |  |  | 3450 | Total MW removed in FY2018 | 760
Lethabo | 593 | 593 | 593 | 593 | 593 | 593 |  |  |  |  | 3558 | Hendrina unit 1 removed from nominal base | 160
Tutuka | 585 | 585 | 585 | 585 | 585 | 585 |  |  |  |  | 3510 | Hendrina unit 9 removed from nominal base | 185
Arnot | 350 | 350 | 350 | 350 | 350 | 350 |  |  |  |  | 2100 | Grootvlei unit 4 removed from nominal base | 190
Camden | 190 | 190 | 185 | 175 | 180 | 186 | 190 | 185 |  |  | 1481 | Grootvlei unit 5 removed from nominal base | 180
Grootvlei | Unit 1: 190; Unit 2: 190; Unit 3: 190 | 570 | Grootvlei unit 6 removed from nominal base | 180
Hendrina |  | 190 |  | 190 | 181 | 190 | 157 |  |  | 190 | 1098 | Komati unit 1 removed from nominal base | 91
Komati | Unit 9: 114 | 114 | Komati unit 2 removed from nominal base | 91
Kriel | 475 | 475 | 475 | 475 | 475 | 475 |  |  |  |  | 2850 | Komati unit 3 removed from nominal base | 84
[12 empty] | Komati unit 6 removed from nominal base | 114
Nuclear Station | [10 empty] | 1854 | Komati unit 8 removed from nominal base | 114
Koeberg Operating Unit | Unit 1: 924; Unit 2: 930 | 1854 | Total MW removed in FY2019 | 1389 | 0
Total MW added in FY2019
Peaking Stations | [10 empty] | 5894.4 | Komati unit 5 removed from nominal base | 91
Hydro Stations | [10 empty] | 600 | Hendrina 8 removed from nominal base | 190
Gariep | Unit 1: 90; Unit 2: 90; Unit 3: 90; Unit 4: 90 | 360 | Komati unit 7 removed from nominal base | 114
VdKloof | Unit 1: 120; Unit 2: 120 | 240 | Arnot unit 1 derating on installed/nominal base | 26 | 26
Pumped-storage Stations | [10 empty] | 2724 | Arnot unit 2 derating on installed/nominal base | 30 | 30
Drakensberg | Unit 1: 250; Unit 2: 250; Unit 3: 250; Unit 4: 250 | 1000 | Arnot unit 3 derating on installed/nominal base | 30 | 30
Palmiet | Unit 1: 200; Unit 2: 200 | 400 | Arnot unit 4 derating on installed/nominal base | 26 | 26
Ingula | Unit 1: 331; Unit 2: 331; Unit 3: 331; Unit 4: 331 | 1324 | Arnot unit 6 derating on installed/nominal base | 20 | 20
Open Cycle Gas Turbines | [10 empty] | 2409 | Total MW removed in FY2020 | 527 | 132
Acacia | Unit 1: 57; Unit 2: 57; Unit 3: 57 | 171 | Hendrina U7 capacity rerating (increase) by 32MW | 32 | 32
Port Rex | Unit 1: 57; Unit 2: 57; Unit 3: 57 | 171 | Medupi 3 added to installed/nominal base | 720 | 794
Gourikwa | Unit 1: 148; Unit 2: 148; Unit 3: 148; Unit 4: 148; Unit 5: 148 | 740 | Medupi 2 added to installed/nominal base | 720 | 794
Ankerlig | 148 | 148 | 148 | 148 | 147 | 147 | 147 | 147 | 147 |  | 1327 | Total MW added in FY2020 | 1472 | 1620
Wind Energy | [10 empty] | 100 | Komati unit 4 removed from nominal base | 91
Sere | 16.1 | 13.8 | 16.1 | 16.1 | 13.8 | 16.1 | 13.8 |  |  |  | 100 | Total MW removed in FY2021 | 91 | 0
Other Hydroelectric Stations | [10 empty] | 61.4 | Kusile unit 2 added to installed/nominal base | 720 | 799
Mbashe | Unit 1: 14; Unit 2: 14; Unit 3: 14 | 42 | Kusile unit 3 added to installed/nominal base | 720 | 799
First Falls | Unit 1: 3; Unit 2: 3 | 6 | Total MW added in FY2021 | 1440 | 1598
Ncora | Unit 1: 1.6; Unit 2: 0.4; Unit 3: 0.4 | 2.4 | Koeberg Unit 1 derated by 6MW | 6 | 6
Second Falls | Unit 1: 5.5; Unit 2: 5.5 | 11 | Hendrina Unit 5 derated by 9MW | 33 | 33
Eskom Generation Total | [10 empty] | 47204.4 | Hendrina Unit 7 derated by 33 MW | 33 | 33
[12 empty] | Total MW removed in FY2022 | 72 | 72
Updated | [11 empty] | Hendrina U10 capacity rerating (increase) by 5MW | 5 | 5
Grootvlei U6 - Derated 31Mar11 (Updated 28Apr11) | [11 empty] | Medupi 2 added to installed/nominal base | 720 | 794
Grootvlei U5 - Commercial 18 July 2011Mar11 (Generated 160MW); Uprated by 30MW on 10 April 2013 | [11 empty] | Sere added to Peaking | 100 | 100
Komati U4 - Commercial 01 Jan 2012 (Generated 100MW) | [11 empty] | Mbashe added to Peaking | 42 | 42
Komati U5 - Commercial 03 Feb 2012 (Generated 100MW) | [11 empty] | First Falls added to Peaking | 6 | 6
Komati U8 - Back to 114 MW rating on 01 June 2012 | [11 empty] | Ncora added to Peaking | 2.4 | 2.4
Koeberg U2 - uprated to 930 MW 01 Dec 2012 | [11 empty] | Second Falls added to Peaking | 11 | 11
Komati U1 - Commercial 01 Mar 2013 (Generated 100MW) | [11 empty] | Total MW added in FY2022 | 886.4 | 960.4
Komati U2 - Commercial 14 Mar 2013 (Generated 100MW)
Komati U9 uprated to 114 MW on 21 August 2013
Hendrina U1 derated by 30 MW on 01 Aug 2013 (Gen 170MW, SO 160MW)
HN01 Derated by 30 MW on 01 Oct 2013
HN02 Derated by 5 MW on 01 Sep 2013
HN03 De-rating of 30MW untill 31July 2012, Derating extended from 01 Jul 2013 and unit derated further by 2 MW
HN07 De-rating of 10MW (5MW USO)
HD07 rerated by 32 MW on 01 April 2019
Koeberg derated by 6MW Sept 2021
HD05 derated permanently by 9 MW from 01 December 2021
HD07 derated by 33 MW from 01 December 2021 till 31 March 2024
6. Hendrina unit 3 is under extended inoperability
7. Due to financial constraints, some units at these stations have been placed in reserve storage and their capacity removed from the nominal base.
8. Duvha Unit 3 Recovery Project has been cancelled
Note on D7: Extended Inoperability and the unit was removed from the nominal base from December 2017
Note on B14: Eskom: Increase from 330MW to 350MW 1 Apr 09 Increase from 350MW to 376MW 1 Apr 10 Reduce to 350MW 1 Jul 19
Note on C14: Surasha Sowki Naiker: Reduce to 350MW from 380MW 1 Jul 19
Note on D14: Surasha Sowki Naiker: Reduce to 350MW from 380MW1 Jul 19
Note on E14: Eskom: Increase from 350MW to 376MW 1 Apr 10 Reduce to 350MW 1 Jul 19
Note on G14: Eskom: Increased from 350MW to 370MW Jul 09 Reduce to 350MW 1 Jul 19
Note on E15: Eskom: Derated by 10MW untill 31 May 2011
Note on C16: Eskom: Commercial 31 Mar 09
Note on E16: Lebohang Kubayi: Removed from Installed base on 01 April 2018
Note on F16: Andries Johannes Oosthuizen: Commercial 18 July 2011; Uprated by 30MW on 10 April 2013 Removed from Installed base on 01 April 2018
Note on G16: Danet De Bruyn: Derated by 10 (31Mar11) Removed from Installed base on 01 April 2018
Note on C17: Nomakhosi Sekane: Derated by 30 MW on 01 Oct 2013 rated back to 190MW in FY2019
Note on D17: Nomakhosi Sekane: Derated by 5 MW on 01 Sept 2013 Removed from installed base in June 2017
Note on F17: Surasha Sowki Naiker: Permanent derating of 9MW from 01 December 2021
Note on H17: Eskom: Derated 30MW till 31 July 2012, Derating extended from 01 Jul 2013 and unit derated further by 2 MW Unit rerated to 200MW on 01 April 2019 Unit derated by 33MW from 01 Dec 2021 until 31 March 2024
Note on I17: Surasha Sowki Naiker: Reserve Storage from 01 June 2019
Note on J17: Surasha Sowki Naiker: 185MW taken off the nominal capacity as at 01 October 2018
Note on K17: Eskom: Derated by 5MW untill 2018
Note on B18: Ellina Nomakhosi: Went commercial on 01 March 2013 Removed from Installed base on 01 April 2018
Note on C18: Ellina Nomakhosi: U2 went commercial on 14 March 2013 Removed from Installed base on 01 September 2018
Note on D18: Nomakhosi Sekane: U3 commercial on 01 Oct 2013 Removed from Installed Base 01 September 2018
Note on E18: Ellina Nomakhosi: U4 went commercial on 01 Jan 2012 91 MW: Unit placed into Reserve Storage on 01 June 2020
Note on F18: Ellina Nomakhosi: U5 went commercial on 03 Feb 2012 91 MW removed from nominal base 01 June 2019
Note on G18: Nomakhosi: U6 went commercial on 05 March 2012 Removed from Installed base on 01 April 2018
Note on H18: Eskom: Commercial date 12 July 2010 Removed from nominal Base September 2019
Note on I18: Eskom: Commercial 31 March 09 and rated Back to 114 MW rating on 01 June 2012 Removed from Installed Base 01 August 2018
Note on J18: Eskom: Derated unit from 114 to 85MW, Uprated to 114MW SO on 21 Aug 2013
Note on F36: Eskom: Changed from 148 to 147 as per A Oosthuizen on 5 Mar 09
Note on G36: Eskom: Changed from 148 to 147 as per A Oosthuizen on 5 Mar 09
Note on H36: Eskom: Commercial 23 march
Note on I36: Eskom: Commercial 27 March
Note on J36: Eskom: Commercial 31 mar 09
Note on L38: Surasha Sowki Naiker: Commissioning letter specifies 100MW

## Installed Units
2. Power Station Commercial Installed Capacities as at 29 March 2021
| Unit 1 | Unit 2 | Unit 3 | Unit 4 | Unit 5 | Unit 6 | Unit 7 | Unit 8 | Unit 9 | Unit 10 | Total Capacity
CahoraBassa (Snapshot actual) | [10 empty] | 1500
Coal-fired Stations | [10 empty] | 44013
Medupi | 794 | 794 | 794 | 794 | 794 | 794 |  |  |  |  | 4764
Kusile | Unit 1: 799; Unit 2: 799; Unit 3: 799 | 2397
Duvha | Unit 1: 600; Unit 2: 600; Unit 4: 600; Unit 5: 600; Unit 6: 600 | 3000
Kendal | 686 | 686 | 686 | 686 | 686 | 686 |  |  |  |  | 4116
Majuba | 657 | 657 | 657 | 713 | 713 | 713 |  |  |  |  | 4110
Matimba | 665 | 665 | 665 | 665 | 665 | 665 |  |  |  |  | 3990
Matla | 600 | 600 | 600 | 600 | 600 | 600 |  |  |  |  | 3600
Lethabo | 618 | 618 | 618 | 618 | 618 | 618 |  |  |  |  | 3708
Tutuka | 609 | 609 | 609 | 609 | 609 | 609 |  |  |  |  | 3654
Arnot | 370 | 370 | 370 | 370 | 370 | 370 |  |  |  |  | 2220
Camden | 200 | 200 | 195 | 185 | 190 | 196 | 200 | 195 |  |  | 1561
Grootvlei | 200 | 200 | 200 | 200 | 190 | 190 |  |  |  |  | 1180
Hendrina | 170 | 200 |  | 200 | 191 | 200 | 167 | 200 | 195 | 200 | 1723
Komati | 100 | 100 | 90 | 100 | 100 | 125 | 125 | 125 | 125 |  | 990
Kriel | 500 | 500 | 500 | 500 | 500 | 500 |  |  |  |  | 3000
Nuclear Station | [10 empty] | 1934
Koeberg Operating Unit | Unit 1: 964; Unit 2: 970 | 1934
Peaking Stations | [10 empty] | 5919.7
Hydro Stations | [10 empty] | 600
Gariep | Unit 1: 90; Unit 2: 90; Unit 3: 90; Unit 4: 90 | 360
VdKloof | Unit 1: 120; Unit 2: 120 | 240
Pumped-storage Stations | [10 empty] | 2732
Drakensberg | Unit 1: 250; Unit 2: 250; Unit 3: 250; Unit 4: 250 | 1000
Palmiet | Unit 1: 200; Unit 2: 200 | 400
Ingula | Unit 1: 333; Unit 2: 333; Unit 3: 333; Unit 4: 333 | 1332
Open Cycle Gas Turbines | [10 empty] | 2426.3
Acacia | Unit 1: 57; Unit 2: 57; Unit 3: 57 | 171
Port Rex | Unit 1: 57; Unit 2: 57; Unit 3: 57 | 171
Gourikwa | Unit 1: 149.2; Unit 2: 149.2; Unit 3: 149.2; Unit 4: 149.2; Unit 5: 149.2 | 746
Ankerlig | 149.2 | 149.2 | 149.2 | 149.2 | 148.3 | 148.3 | 148.3 | 148.3 | 148.3 |  | 1338.3
Wind Energy | [10 empty] | 100
Sere | 16.1 | 13.8 | 16.1 | 16.1 | 13.8 | 16.1 | 13.8 |  |  |  | 100
Other Hydroelectric Stations | [10 empty] | 61.4
Mbashe | Unit 1: 14; Unit 2: 14; Unit 3: 14 | 42
First Falls | Unit 1: 3; Unit 2: 3 | 6
Ncora | Unit 1: 1.6; Unit 2: 0.4; Unit 3: 0.4 | 2.4
Second Falls | Unit 1: 5.5; Unit 2: 5.5 | 11
Eskom Generation Total | [10 empty] | 51866.7
6. Hendrina unit 3 is under extended inoperability
7. Due to financial constraints, some units at these stations have been placed in reserve storage and their capacity removed from the nominal base.
8. Duvha Unit 3 Recovery Project has been cancelled
Note on D7: Extended Inoperability and the unit was removed from the installed base from December 2017 (600MW)
Note on B14: Eskom: Reduced from 396MW 1 Jul 2019
Note on C14: Eskom: Reduced from 400MW 1 Jul 2019
Note on D14: Eskom: Reduced from 400MW 1 Jul 2019
Note on E14: Eskom: Reduced from 396MW 1 Jul 2019
Note on G14: Eskom: Reduced from 390MW 1 Jul 2019
Note on E15: Eskom: Derated by 10MW untill 31 May 2011
Note on C16: Eskom: Commercial 31 Mar 09
Note on E16: Lebohang Kubayi: Removed from Installed base on 01 April 2018
Note on F16: Andries Johannes Oosthuizen: Commercial 18 July 2011; Uprated by 30MW on 10 April 2013 Removed from Installed base on 01 April 2018
Note on G16: Danet De Bruyn: Derated by 10 (31Mar11) Removed from Installed base on 01 April 2018
Note on C17: Nomakhosi Sekane: Derated by 30 MW on 01 Oct 2013
Note on D17: Nomakhosi Sekane: Derated by 5 MW on 01 Sept 2013 Removed from installed base in June 2017 (195MW)
Note on F17: Surasha Sowki Naiker: Permanent derating of 9MW from 01 December 2021
Note on H17: Eskom: Derated 30MW till 31 July 2012, Derating extended from 01 Jul 2013 and unit derated further by 2 MW Unit rerated to 200MW on 01 April 2019 Unit derated by 33MW from 01 Dec 2021 until 31 March 2024
Note on J17: Surasha Sowki Naiker: 185MW taken off the nominal capacity as at 01 October 2018
Note on K17: Eskom: Derated by 5MW untill 2018 changed back to 200MW on 01 April 2021
Note on B18: Ellina Nomakhosi: Went commercial on 01 March 2013 Removed from Installed base on 01 April 2018
Note on C18: Ellina Nomakhosi: U2 went commercial on 14 March 2013 Removed from Installed base on 01 September 2018
Note on D18: Nomakhosi Sekane: U3 commercial on 01 Oct 2013 Removed from Installed Base 01 September 2018
Note on E18: Ellina Nomakhosi: U4 went commercial on 01 Jan 2012
Note on F18: Ellina Nomakhosi: U5 went commercial on 03 Feb 2012
Note on G18: Nomakhosi: U6 went commercial on 05 March 2012 Removed from Installed base on 01 April 2018
Note on H18: Eskom: Commercial date 12 July 2010
Note on I18: Eskom: Commercial 31 March 09 and rated Back to 114 MW rating on 01 June 2012 Removed from Installed Base 01 August 2018
Note on J18: Eskom: Derated unit from 114 to 85MW, Uprated to 114MW SO on 21 Aug 2013
Note on F36: Eskom: Changed from 148 to 147 as per A Oosthuizen on 5 Mar 09
Note on G36: Eskom: Changed from 148 to 147 as per A Oosthuizen on 5 Mar 09
Note on H36: Eskom: Commercial 23 march
Note on I36: Eskom: Commercial 27 March
Note on J36: Eskom: Commercial 31 mar 09
Note on L38: Surasha Sowki Naiker: Commissioning letter specifies 100MW